{"text_format":"3","workbook":"xls","n_sheets":7,"sheets":["(7)分部分项工程量清单","(6)措施项目清单","(5)不可竞争费项目清单","(4)其他项目清单","(1)税金计价表","Sheet2","Sheet3"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"(7)分部分项工程量清单","index":0,"n_rows":38,"n_cols":6,"rows_kept":38,"merged":[[5,0,6,0],[5,1,6,1],[5,2,6,2],[5,3,6,3],[5,5,6,5]],"flags":["formulas_cached_only"]}
[]
["E.1",null,null,"分部分项工程量清单"]
[]
[]
["工程名称：池州市港航管理（地方海事）局围墙工程",{"$nulls":4},"第3页 共3页"]
["序号","项目编码","项目名称","项目特征描述","计量","工程量"]
[{"$nulls":4},"单位"]
["1","010101003001","挖沟槽土方","1、土壤类别;三类土\r\n2、基础类型:详见图纸\r\n3、挖土深度:详见设计图纸\r\n4、弃土运距:施工单位自行确定\r\n5、清单量按消耗量\r\n6、含管道沟槽挖土方","m3",212.6]
["2","010103001001","回填方","1、土质要求:良质土\r\n2、夯填（碾压）:分层夯实\r\n3、运输距离:投标人综合考虑，自行报价，含土源费、渣土费\r\n4、含管道沟槽回填","m3",91.4]
["3","040103002001","余方弃置","1、土壤类别：三类土\r\n2、弃土运距：施工单位自行确定\r\n3、含管道部分和拆除的混凝土","m3",129.15]
["4","010403003001","石墙","1.石料品种、规格：块石\r\n2.砂浆强度级：M7.5水泥砂浆\r\n","m3",79.47]
["5","WB010403011","毛石墙勾缝","1、勾缝用1：2水泥砂浆抹面\r\n2、其他详见图纸","m2",71.5]
["6","040309009001","（泄）水管","1、挡墙泄水管\r\n2、规格：120*120\r\n3、中粗砂反滤层\r\n4、300-400g/m2土工布","m",12]
["7","010401003001","实心砖墙","1、墙体类型：实心砖墙（含砖柱）\r\n2、墙体厚度：240mm\r\n3、品种、规格、强度等级：MU10混凝土实心砖\r\n4、砂浆强度等级、配合比：M5水泥砂浆\r\n5、1：2.5水泥砂浆防潮层","m3",24.21]
["8","010503004001","圈梁","1.混凝土种类：现浇混凝土\r\n2.混凝土强度等级：C25\r\n","m3",8.25]
["9","010507005001","压顶","1.断面尺寸：详见图纸\r\n2.混凝土种类：现浇\r\n3.混凝土强度等级：C20\r\n","m3",2.77]
["10","010515001002","现浇构件钢筋","1、现浇混凝土钢筋（含10以内）","t",1.15]
["11","011201001001","墙面一般抹灰","1、15厚1:3水泥砂浆打底\r\n2、5厚1：2.5水泥砂浆罩面\r\n3、含压顶抹灰","m2",305.79]
["12","011406001001","外墙涂料","1、白色外墙涂料\r\n2、外墙满批腻子两遍","m2",305.79]
["13","011702008002","圈梁模板","1、复合木模\r\n","m2",33]
["14","WB011702039","压顶模板","复合木模","m2",27.585]
["15","011701001001","外脚手架","1.搭设方式：双排\r\n2.搭设高度：详见图纸\r\n3.脚手架材质：竹制\r\n","m2",192.5]
["16","补001","土方挖运","1、清理并外运\r\n2、暂定价","项",1]
["17","补002","智能读卡停车系统","1、智能停车系统\r\n2、双面自动识别","套",1]
["18","WB030412006","路灯","1.名称：低杆LED路灯\r\n2.参数不详\r\n","套",6]
["19","030408001001","电力电缆VV-5*4","1.型号:VV-5*4\r\n2.敷设方式:穿管敷设\r\n3.其他:电缆头制作、安装","m",100]
["20","030408003001","电缆保护管PE50","1.名称：电缆保护管\r\n2.材质：PE\r\n3.规格：DN50\r\n4.敷设方式：埋地敷设\r\n","m",90]
["21","040202001001","路床（槽）碾压检验（暂定量）","1、地坪基层压实\r\n2、压实度≥95%\r\n3、其他要求详见设计及相关规范\r\n4、暂定工程量，结算按实调整。","m2",230]
["22","040202011001","碎石垫层（暂定量）","1、10cm厚碎石垫层\r\n2、部位：车位地坪\r\n3、暂定工程量，结算按实调整。","m2",230]
["23","040203007001","水泥混凝土地面（暂定量）","1、混凝土强度等级：C25\r\n2、厚度：15cm\r\n3、混凝土拌合要求：商混非泵送\r\n4、含养护等工艺、\r\n5、暂定工程量，结算按实调整。\r\n","m2",230]
["24","040205006001","停车位标线","1、标线类型：停车线；\r\n2、工艺：热熔；","m2",31.9]
["25","040205006001","震荡减速标线","1、震荡减速标线","m2",7.4]
["26","011602001001","拆除混凝土面层","1、拆除混凝土地面","m3",7.95]
["27","040501004001","塑料管铺设","1、管道材料名称：HDPE双壁波纹管；\r\n2、环刚度等级：≧8KN/㎡；\r\n3、管材规格：d300；\r\n4、埋设深度：见施工图；\r\n5、接口形式：橡胶圈接口；\r\n6、垫层：100mm厚中粗砂；\r\n7、暂定工程量，结算按实调整\r\n","m",18.4]
["28","040103001001","槽坑填方（中粗砂）","1、部位：塑料管道管底至管顶上0.5m范围沟槽填砂\r\n2、填方材料品种：中粗砂；\r\n3、密实度：符合设计及规范要求；","m3",12.62]
["29","040504001001","砌筑检查井","1、砖砌雨水检查井\r\n2、详见图集06MS201-3-11\r\n3、球墨铸铁井盖","座",5]
["30","041101005001","井字架","1.木制井字脚手架\r\n2.井深2m以内\r\n","座",5]
["31","011702001001","垫层模板","1、井垫层模板","m2",2.48]

{"sheet":"(6)措施项目清单","index":1,"n_rows":15,"n_cols":6,"rows_kept":15,"flags":["formulas_cached_only"]}
[]
["F",null,null,"措施项目清单"]
[]
[]
["工程名称：池州市港航管理（地方海事）局围墙工程",{"$nulls":4},"第1页 共1页"]
["序号","项目编码","项目名称","计算基础","费率（%）","金额（元）"]
["1","JC-01","夜间施工增加费"]
["2","JC-02","二次搬运费"]
["3","JC-03","冬雨季施工增加费"]
["4","JC-04","已完工程及设备保护费"]
["5","JC-05","工程定位复测费"]
["6","JC-06","非夜间施工照明费"]
["7","JC-07","临时保护设施费"]
["8","JC-08","赶工措施费"]
[null,null,"合计"]

{"sheet":"(5)不可竞争费项目清单","index":2,"n_rows":12,"n_cols":6,"rows_kept":12,"flags":["formulas_cached_only"]}
[]
["G",null,null,"不可竞争费项目清单"]
[]
[]
["工程名称：池州市港航管理（地方海事）局围墙工程",{"$nulls":4},"第1页 共1页"]
["序号","项目编码","项目名称","计算基础","费率（%）","金额（元）"]
["1","JF-01","环境保护费"]
["2","JF-02","文明施工费"]
["3","JF-03","安全施工费"]
["4","JF-04","临时设施费"]
["5","JF-05","工程排污费"]
[null,null,"合计"]

{"sheet":"(4)其他项目清单","index":3,"n_rows":10,"n_cols":3,"rows_kept":10,"flags":["formulas_cached_only"]}
["H.1","其他项目清单"]
[]
[]
["工程名称：池州市港航管理（地方海事）局围墙工程","                    标段：","第1页 共1页"]
["序号","项目名称","金  额（元）"]
["1","暂列金额"]
["2","专业工程暂估价"]
["3","计日工"]
["4","总承包服务费"]
[null,"合计"]

{"sheet":"(1)税金计价表","index":4,"n_rows":21,"n_cols":6,"rows_kept":21,"flags":["formulas_cached_only"]}
[]
["I",null,null,"税金计价表"]
[]
[]
["工程名称：池州市港航管理（地方海事）局围墙工程",null,null,"                    标段：",null,"第1页 共1页"]
["序号","项目名称","计算基础","计算基数","费率（%）","金额（元）"]
["一","分部分项工程项目费"]
["1.1","其中:定额人工费"]
["1.2","     定额机械费"]
["1.3","     综合费"]
["二","措施项目费"]
["三","不可竞争费"]
["3.1","安全文明施工费"]
["3.2","工程排污费"]
["四","其他项目费"]
["4.1","暂列金额"]
["4.2","专业工程暂估价"]
["4.3","计日工"]
["4.4","总承包服务费"]
["五","税金"]
["六","工程造价"]

{"sheet":"Sheet2","index":5,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":6,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}